## Disclaimer
I, |  | accept the terms of use
Please enter your name
Application won't activate until disclaimer is acknowledged
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
The Interpretation of Tan -delta Measurements using is Multivariate Methods is being constantly developed and updated.
For this reason, each downloaded copy is funtional only for a limited period of time.
This version will expire December 31, 2023
If you copy is expired please request an updated version:
Caryn Riley: caryn.riley@neetrac.gatech.edu
Jean Carlos (JC) Hernandez-Mejia: jean.hernandez@neetrac.gatech.edu
Disclaimer :
The information contained herein is to our knowledge accurate and reliable at the date of publication.
Neither GTRC nor The Georgia Institute of Technology nor NEETRAC will be responsible for any injury to or death of persons or damage to or destruction of property or for any other loss, damage or injury of any kind whatsoever resulting from the use of the project results and/or data. GTRC, GIT and NEETRAC disclaim any and all warranties both express and implied with respect to analysis or research or results contained in this report. It is the user's responsibility to conduct the necessary assessments in order to satisfy themselves as to the suitability of the products or recommendations for the user's particular purpose. No statement herein shall be construed as an endorsement of any product or process or provider.
Any opinions, findings and conclusions or recommendations expressed in this material are those of the author(s) and do not necessarily reflect the views of the Department of Energy.

## PE, XLPE & WTR-XLPE
Condition Assessment of PE-based Insulations (i.e. PE, XLPE, WTR XLPE)
Please fill the fields highlighted in yellow
| U/Uo | Mean TD [e-3] | STD [%] | STD [e-3]
0.5
1
1.5
Please activate tool (see Disclaimer sheet)
| Condition Assessment Parameters: |  | TD Stability @ V0 |  | Differential TD (TU) | Mean TD @ V0
Condition Assesment Results:
| TD Stability @ V0 | Differential TD (TU) | Mean TD @ V0 | Diff. in TU
Results indicates:
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
Historical figures of merit within CDFI for US cable systems over a period of 4 yrs.
Figures of Merit are based on more than 3000 separate field measurements at VLF.
A minimum of 6 measurements should be made at each voltage level to determine the values of the Mean TD [e-3] and STD [%] (parameters highlighted in yellow)
Symbols:
Values within limits
Values outside limits (moderate)
Values outside limits (severe)
Acronyms:
- V: Test voltage
- V0: Nominal voltage
- TD: Tan delta
- STD: Standard deviation
- TU: Tip up

## PCA-PE (hidden)
Principal Component Analysis for PE-Based Cables
Data Stats:
| Std Dev | TU 1.5-.5 | Log TD | Diff in Tip Ups
STD | 256.3913 | 85.6794 | 0.72853 | 82.9733
Mean | 0.028138 | 0.24798 | -0.12112 | 0.18119
PCA Coeficients: | [7 empty] | Examples:
Component | Sample Value | Coef. PCA 1 | Coef. PCA 2 | Coef. PCA 3 | Sample PCA 1 | Sample PCA 2 | Sample PCA 3 | Std Dev | TU 1.5-.5 | Log TD | Diff in Tip Ups | Rank | Result
Std Dev^2 | #VALUE! | 0.034561 | 0.98827 | -0.14518 | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | -0.523 | 0 | 33.6605 | No Action | New Cable
TU 1.5-.5 |  | 0.67977 | -0.018146 | -0.12322 | #VALUE! | #VALUE! | #VALUE! | 0.05 | 5 | 0.60206 | 0 | 81.894 | Further Study | Cable at 80% in individual parameters
Log TD | #VALUE! | 0.35854 | 0.11509 | 0.90886 | #VALUE! | #VALUE! | #VALUE! | 0.5 | 80 | 1.699 | 60 | 94.0137 | Further Study | Cable at 95% in individual parameters
Diff in Tip Ups |  | 0.63889 | -0.098741 | -0.37109 | #VALUE! | #VALUE! | #VALUE! | 3.6 | 247 | 2.4983 | 17 | 97.841 | Action Required | Macon, Failed cable
[5 empty] | #VALUE! | #VALUE! | #VALUE! | 0 | 0.8 | 0.44716 | 0 | 78.5083 | No action | Macon, consecutive cables
[8 empty] | 0 | 1.8 | 0.77815 | 0.6 | 84.5437 | Further Study
Origin: | [7 empty] | 0 | 1.2 | 0.73239 | -0.2 | 83.8567 | Further Study
Original | [7 empty] | 0.9 | 58 | 1.6875 | 21.6 | 93.2777 | Further Study
Translated | -0.73401 | -0.14945 | -1.0356
PCA Distance:
Sample | #VALUE! |  | Rank | #VALUE!
Database | 1.9099
1.4063
1.4574
1.3513
1.7243
0.96053
2.2703
2.27
2.2578
0.81322
0.64442
0.64442
2.0875
2.2724
2.5804
1.2892
1.0512
1.4577
0.81293
0.40676
0.40676
0.64412
0.40646
0.40646
1.0509
0.94434
0.94392
1.661
1.6947
1.6947
1.6607
0.58067
1.0466
0.61036
0.18503
0.012113
0.42139
0.50114
0.2755
0.42692
0.34441
0.29307
0.25391
0.80809
0.36061
0.34845
0.65232
0.16344
1.1198
0.30118
1.2673
0.61036
0.41868
0.65361
1.0593
1.5626
0.32819
0.73466
0.73915
0.43487
0.397
0.3376
0.58876
2.0283
0.44291
1.923
0.48075
0.43748
0.48075
1.2846
0.58067
13.5567
2.5947
0.53476
0.53746
0.58207
0.41193
0.736
0.61849
9.5174
2.6833
0.70497
0.72119
0.47266
0.41194
3.9678
0.38894
0.3546
0.52269
1.8779
0.51043
0.43212
0.74044
3.8188
0.45405
0.76433
0.45386
3.5847
0.49295
0.70091
3.8515
0.48615
0.54519
0.57799
0.56059
0.46454
2.1908
0.48615
0.57215
1.0701
0.54964
0.73474
0.69193
0.812
0.40387
0.61871
0.65655
0.79746
0.57678
0.69191
0.66715
1.1937
0.3322
0.58879
0.62668
0.63493
0.36477
0.50376
1.0332
0.59172
0.99262
0.75505
0.667
1.3452
2.0099
1.9868
1.1952
0.98985
0.98961
0.71984
0.73605
0.87183
1.1074
0.76699
0.74993
0.94158
0.43771
4.0574
0.42983
1.4294
0.33498
0.5648
0.62255
4.0505
3.9431
3.8413
0.85767
0.48919
2.0838
0.52281
1.8177
0.69876
3.8312
2.6252
2.7157
1.8165
0.84061
0.67796
0.86426
1.0169
3.5679
3.1956
4.1413
3.7576
2.5483
2.3122
1.8147
1.521
1.0968
1.1568
1.6391
1.0725
1.7091
1.4264
1.719
1.4338
0.86698
0.86563
0.67797
8.3972
1.385
3.2459
0.70766
0.6429
0.70089
0.49563
0.65364
0.51594
0.51039
0.86298
0.53104
0.73607
1.7901
0.62662
0.70948
0.67526
0.71416
0.6082
0.61593
0.64428
0.30793
0.95906
1.9243
0.53798
0.81983
0.53403
2.0607
0.43502
0.4957
0.25384
1.9473
0.40923
0.94881
0.64284
5.4226
0.57891
0.52803
2.389
2.8849
0.65023
0.36734
0.36469
2.6022
0.40918
0.49821
1.8514
0.37675
0.4351
0.31073
0.41497
0.80923
0.32843
0.5768
0.31463
0.24992
0.49574
2.4185
0.55782
2.3979
0.55366
0.528
0.5469
1.4814
2.0351
2.0364
2.0716
1.0911
0.64689
0.60771
1.9075
0.7577
0.68215
0.70943
2.0586
1.4355
0.96964
0.50377
0.68755
0.74006
2.4139
1.4449
1.0008
0.51587
0.73466
0.74273
2.4586
0.52803
0.53475
0.85886
0.55636
0.89807
0.58476
0.97501
0.69827
0.57412
0.57123
6.7384
0.58205
0.58475
2.1391
1.4902
0.53484
0.33506
0.40379
1.5421
0.6605
1.4233
2.366
0.62312
0.59141
0.63607
0.72118
0.72118
0.45104
1.5963
1.8062
0.38213
2.6919
2.8107
3.407
0.46725
0.51319
0.49563
1.0764
0.91154
0.03914
0.91154
0.67518
0.22956
0.43481
1.0764
0.47001
0.65256
0.89404
0.4484
1.0885
0.52807
0.79684
0.97239
0.91154
0.79282
0.72248
0.67523
0.82654
0.82776
0.47052
0.64995
2.9588
2.7172
0.92537
0.93214
0.94298
0.61986
0.58878
0.61979
0.64419
0.67254
1.2962
0.55117
0.28631
0.57397
0.38227
0.58207
0.50644
0.61443
0.78348
0.52264
0.56315
0.51859
0.66589
0.48093
1.4484
0.42948
0.30801
0.57129
2.4054
1.0455
0.41185
0.73619
0.47532
0.72516
0.65641
0.99432
0.44291
0.73492
1.0048
0.82527
1.2486
1.0239
0.61443
0.68503
0.59306
0.53745
0.70973
0.92937
0.77291
0.91445
0.61443
0.61586
0.98068
1.0638
1.936
1.6167
0.47004
0.48188
0.32836
1.0978
0.83355
0.87253
1.0916
1.0504
1.0839
1.1097
0.47592
0.6724
0.33498
1.1587
0.96452
0.95775
1.2159
1.0803
1.5907
1.1756
0.39436
1.1782
2.8778
1.93
1.0657
0.99014
0.5038
0.93999
0.7482
1.5425
1.4647
1.0969
1.3695
0.47827
1.8438
11.9873
0.71307
0.7406
0.66979
0.61047
0.59558
0.551
0.55775
0.79948
0.71728
0.77266
3.7499
1.0986
1.2133
1.136
0.77257
0.82657
0.77925
3.9107
3.2781
0.7795
0.86166
0.60673
0.87786
1.0146
1.0467
0.40924
0.40922
0.58209
0.58479
0.46459
0.57808
0.58215
0.60394
0.55121
0.80654
0.49823
0.76443
0.66313
0.66175
0.628
0.57399
0.57131
0.56716
0.67114
0.65225
0.90899
0.87516
0.2417
0.33241
0.4484
2.2554
0.4119
0.48885
0.45381
1.6011
1.6527
1.243
0.91571
0.58206
1.0808
0.62665
0.6956
0.64298
0.5401
1.7569
0.60768
0.69548
0.46729
1.8219
1.4681
2.5213
0.47612
0.98541
0.73463
0.69148
1.4936
0.62795
0.6621
0.7927
0.45926
0.65766
0.59615
0.83477
0.38896
0.55018
2.2938
2.3546
1.3549
0.61851
1.2022
0.56313
0.73891
0.50904
0.96668
0.67268
3.823
0.43305
0.79103
0.678
0.61986
0.85081
0.62407
2.0052
0.87379
0.71664
0.81569
0.74819
0.5535
0.46219
0.51357
0.43754
0.69556
0.45375
0.48615
0.61188
0.51587
0.5699
0.46727
0.48083
0.57137
0.59555
0.81442
0.54017
0.68606
0.473
0.5581
0.32148
0.84937
0.81861
0.47567
0.64957
0.93009
0.50385
0.6037
0.58787
0.44328
1.2022
0.6147
0.55641
0.51051
0.64288
0.36054
0.57006
0.74191
0.46724
1.0344
0.62405
0.5064
0.64287
0.60639
0.52827
0.60365
0.48344
0.024308
1.2002
0.53472
0.21758
0.3578
0.51083
0.56319
0.34206
0.71572
0.29029
0.36472
0.48651
1.1552
0.38215
0.38215
0.29054
0.39161
0.57126
0.47802
0.30379
0.51316
0.51609
1.2485
0.48075
1.1636
0.28355
0.20102
0.53211
0.41185
0.4092
0.32148
0.64815
0.64687
0.48508
0.93313
0.44296
0.59282
0.71738
0.61177
0.61177
0.54425
0.5402
0.59148
0.64689
0.64694
0.49838
0.41467
0.51045
0.49155
0.60368
0.43495
0.54691
0.49829
1.1907
0.45922
0.63885
1.3949
0.5768
0.44296
0.69144
0.54963
1.245
0.61591
0.005453
1.0916
0.52798
0.57396
1.1736
1.0438
0.67812
0.69607
0.72146
0.61054
0.51589
0.53472
0.92656
0.87099
0.51317
0.86567
0.63619
0.57124
0.47805
0.47541
0.46736
1.2954
0.59164
0.51858
0.50103
1.5042
0.87345
1.1652
2.8031
2.8031
0.97885
0.9589
0.46184
0.4983
0.89885
0.49154
2.158
0.3444
2.5332
0.48179
0.56071
0.48649
2.5119
0.71988
0.36737
0.41455
1.0147
0.54961
0.68065
0.46994
2.8031
0.47803
2.653
0.57397
0.73196
0.74061
0.49562
0.6037
1.0611
0.44023
0.75442
0.63074
0.75405
2.3828
1.1463
1.1149
1.0229
1.1707
1.3914
0.74413
0.76709
1.896
1.9479
0.71047
0.81983
0.56052
0.72257
1.2973
1.6414
2.646
1.1299
0.67286
0.83869
0.68207
1.1405
0.61583
0.59218
0.73473
0.55659
2.63
0.56719
0.22551
0.35781
0.51863
0.53484
0.68494
2.0016
1.5287
1.7638
1.9702
1.9676
1.9865
2.2865
2.3628
1.3363
0.5928
0.69009
0.36491
0.74809
0.38624
0.40383
0.81738
0.50103
0.39698
0.55775
0.59293
0.47811
1.3909
0.8631
0.358
0.53487
0.42941
0.60238
0.3864
0.63204
0.72802
0.43497
0.43482
1.7545
0.71328
1.3464
0.8603
1.6076
0.54422
0.71717
0.33213
0.46994
0.47803
0.58742
0.44565
0.44561
0.50377
0.85895
0.78779
1.6299
1.8955
0.58877
1.5983
0.94714
0.501
0.65411
1.4209
0.47283
1.4503
1.8828
0.49304
0.048526
0.44334
0.78765
0.36457
0.72935
0.14446
0.45646
0.42136
1.1939
0.46998
0.51051
0.40649
0.42135
0.486
0.2714
0.071883
0.52529
0.27163
0.55795
0.31072
0.35384
0.691
0.73863
0.8265
0.40123
0.43481
0.34856
0.44835
2.0994
0.9237
0.60232
1.0396
0.72692
1.5659
1.4259
1.9931
5.7537
2.8281
0.6671
2.9991
0.91087
1.1509
1.2663
1.1122
10.7741
0.82122
1.2621
13.8731
1.2365
1.8848
1.1179
1.1501
0.92744
1.1294
1.357
1.3284
13.5953
2.4337
2.9904
3.2211
1.5429
1.8813
1.2696
1.1181
2.2473
1.5359
0.75509
4.2688
1.5588
1.2936
0.96326
0.63469
0.85816
0.99788
0.37941
0.74133
1.2127
0.59685
0.9561
0.37679
0.42681
0.45654
0.55376
2.659
5.8469
0.50374
0.49158
0.62401
0.51052
0.40652
0.47266
0.59955
0.49827
0.50099
3.0059
0.13076
0.22549
0.41454
0.3865
0.62394
0.44609
0.56471
0.77858
1.1091
0.7684
0.74004
1.4994
0.54963
0.53747
0.87225
0.56044
1.4045
1.0871
0.34862
0.76525
0.58235
1.7674
0.66724
0.40105
1.0091
0.42987
3.0684
1.5587
0.38229
0.61459
0.63611
0.91894
0.47531
0.58209
0.53745
1.6386
0.66582
0.73894
0.76713
0.5213
0.47805
0.44835
0.52273
1.6613
1.4808
2.5488
2.8685
0.99671
0.68603
1.0075
1.6186
1.0304
2.5478
0.50648
0.48887
0.66173
1.345
2.0902
0.60371
1.7069
0.63206
0.53211
0.63471
0.74411
0.74983
0.71984
0.94808
1.9742
1.4476
1.7441
1.4921
2.0265
1.5015
2.2927
0.72511
1.3801
0.56443
0.78006
1.4043
0.58065
1.6191
0.58737
2.4175
2.427
2.5685
4.4983
3.6951
6.9182
4.1004
4.0511
3.3352
3.8106
6.9924
0.50105
7.7125
4.29
3.9636
3.2113
3.9142
3.122
4.8895
3.8664
0.58085
3.781
0.62247
0.63208
0.83637
0.62791
5.1861
4.0017
3.9872
7.069
4.5006
4.0976
4.0342
4.0295
2.9382
4.517
4.2097
3.8225
0.61578
3.5294
4.1057
0.8768
11.1875
4.649
0.67527
0.91823
1.1668
14.9517
3.921
4.0882
2.722
0.62791
3.9781
3.1916
10.4962
0.61988
0.58472
0.58202
0.77066
2.4171
2.4584
2.3508
0.68468
2.4739
0.69684
10.6307
1.6604
2.4317
6.0667
2.7842
1.0425
0.60362
0.83003
2.8416
1.0493
0.60362
3.3071
1.0587
0.43493
0.38894
0.4808
0.42406
0.58496
0.52535
0.58889
0.5957
0.53212
0.32547
0.68628
0.59306
0.62664
0.63608
0.99803
0.61852
1.109
1.7562
0.61446
0.64418
0.64819
0.59286
1.5014
0.7009
0.68604
0.68603
0.67122
0.95667
1.0495
0.76585
0.71305
1.1019
1.8869
2.5176
1.9673
2.041
0.35387
0.49835
0.74701
0.51859
0.78749
0.48889
0.60653
0.44889
0.37277
0.42135
0.40114
0.38895
0.47027
0.42137
0.50912
0.46725
0.48343
0.64825
0.74961
0.76297
1.6395
1.3371
1.1656
1.3156
1.7233
1.3397
2.3361
1.551
1.7233
1.3424
2.338
6.1459
0.49831
0.93306
0.77355
0.78478
0.8282
2.3394
2.2209
3.0414
0.36729
0.60365
0.5307
0.4929
0.50098
1.8991
0.5415
0.53745
1.5008
0.55095
0.5604
0.53744
0.5307
0.51044
0.55371
0.5226
0.51586
0.93874
0.91282
1.0789
1.6956
1.2508
1.2438
1.309
0.85887
1.6764
0.72359
0.76124
2.2986
1.8882
2.3964
2.6633
1.2138
0.73056
0.56048
0.63075
0.56117
0.68498
1.683
0.86877
0.89055
0.87103
3.9017
0.94273
0.78725
3.7305
0.75347
2.097
3.4906
0.78995
1.9618
1.8831
5.1677
3.0674
2.8068
1.7318
2.2385
1.105
0.56079
0.56372
0.66706
3.7472
0.18107
14.9292
14.3565
0.029723
2.2946
0.83064
0.61037
3.3587
0.086433
2.9358
0.033795
0.17152
0.033814
1.6431
1.9778
0.15806
0.41239
0.57129
0.6242
0.2688
2.7372
0.8156
1.2792
2.2174
0.49152
1.7699
0.32156
0.34449
1.8
2.3284
2.5745
0.31492
1.2486
1.959
1.4537
1.1277
2.3537
1.9917
1.082
0.74678
0.76568
0.82916
3.124
2.9135
2.7667
1.3502
2.5637
1.9968
2.5879
3.0362
0.84822
0.74943
0.98491
0.82238
0.68999
0.87643
1.6298
2.3093
2.2687
3.6119
0.73458
2.5157
1.0762
3.0025
0.58879
0.43483
2.6912
0.70894
1.9413
4.152
3.1443
0.63603
0.47263
0.44556
1.0587
0.54014
0.48883
0.5604
0.47805
0.4618
3.412
0.3943
0.57121
0.64413
1.12
0.38216
3.1401
0.48342
3.7104
3.2735
0.36459
2.5953
0.63196
0.70084
0.70261
3.1355
1.1948
2.9525
0.96282
0.60717
0.53481
0.55371
2.3699
0.65233
0.82538
0.91048
2.0333
0.69073
0.7199
2.2606
1.2137
2.687
0.79689
1.6597
1.1058
0.72119
2.4929
2.4671
1.4017
0.47561
0.62805
0.70109
1.0569
0.91798
0.77276
0.8389
1.6461
1.7096
1.7271
2.2632
0.57797
2.3051
1.5163
2.3254
1.5859
0.41196
0.91244
0.87727
0.60258
0.76038
0.69288
0.59998
0.70233
0.59566
1.5835
0.64836
0.70374
0.83629
0.83761
0.68612
3.3377
0.70395
0.69734
0.7361
0.70768
0.74426
2.2641
0.90148
0.84021
0.69552
1.3815
1.0695
1.8703
0.90515
2.8496
1.5382
1.9623
0.54139
0.9778
2.8487
1.9877
2.1111
0.78853
1.6464
0.9181
0.64687
0.91693
0.69888
0.92912
1.6307
0.63614
0.80908
0.41186
0.67524
1.6465
1.6631
0.42671
0.74686
1.9474
4.13
0.43481
0.80634
2.2736
0.61854
0.60374
0.59557
2.1374
0.62796
1.0498
0.94813
2.6958
0.78356
1.2812
1.8454
2.9089
1.147
0.65634
1.2421
0.72256
3.1364
0.73595
0.73459
0.76027
1.2506
0.74416
0.79297
0.74416
0.53078
0.51856
0.45125
0.70382
0.42675
0.61236
0.87907
0.44834
0.43791
0.46726
0.4674
0.75827
1.1844
0.4511
0.39435
0.38634
0.52538
0.53748
0.52258
0.50909
1.024
0.77513
0.48614
0.95499
0.55639
0.51313
0.41866
0.4119
0.40921
0.45917
0.4146
0.51049
0.42136
0.55374
3.4018
2.8365
2.9807
0.69551
4.2881
0.8975
10.3466
1.9904
1.8151
2.9419
0.55778
1.0377
0.85396
0.72537
1.1877
0.7347
1.4249
2.2828
1.9289
1.9959
1.0146
0.79284
1.9336
0.87523
1.3978
1.4116
0.59216
0.70505
0.88782
0.64828
2.9196
0.89441
1.001
2.1851
0.96024
0.86317
1.5968
1.0914
0.81176
0.70567
0.72606
0.90115
0.86317
1.3583
2.4947
2.1039
3.3098
1.8116
1.6596
1.3095
0.37952
1.3196
1.3147
4.0634
1.2723
1.5059
0.89264
1.2433
0.46453
0.52803
1.3655
1.0913
0.55102
0.5888
0.49289
0.57122
0.58067
0.58743
0.55365
0.56312
0.57797
2.1269
2.1174
2.1255
2.5847
0.99019
1.3032
0.62672
12.627
1.1109
0.92058
14.6917
0.82265
3.4961
8.2884
0.67258
6.9395
2.124
4.9708
1.4758
1.0423
0.87804
1.5653
1.342
3.3685
2.207
2.4082
0.67743
0.70043
5.2362
0.7672
1.6546
0.79506
0.92445
9.2595
0.71044
1.6617
0.96469
1.1972
1.5911
9.7518
3.5036
3.1379
1.1905
0.5514
0.87262
3.9519
0.42941
3.5214
0.24587
0.44563
1.9605
0.73292
3.9099
3.9088
0.61224
4.5154
1.6656
0.56744
1.7084
0.64416
0.63902
4.0119
0.63505
4.0541
1.2333
1.091
0.67656
2.0091
0.64689
0.50925
1.4819
0.54423
1.1844
7.3711
0.71456
3.6467
14.0113
0.97529
0.48343
0.72968
0.74451
4.0924
4.8864
0.59959
2.8375
0.70289
1.4621
1.6957
2.4729
0.92384
1.0071
2.6524
1.0286
4.0654
44.678
0.58204
0.46991
0.54151
0.41865
0.48349
0.61177
0.54021
0.78883
0.56317
1.0984
0.81844
2.0152
0.89019
0.71577
2.1158
1.0426
0.5496
0.63477
0.58741
0.75892
1.5127
0.57121
1.0496
1.1442
0.78592
1.68
0.58202
1.8027
0.87782
1.0535
0.53783
0.53477
1.1456
1.196
0.57394
0.63873
1.682
2.8437
3.3843
0.33522
3.73
0.51855
0.72949
0.59285
0.82255
1.1749
0.44034
0.51594
0.83472
0.55375
0.57805
8.2139
2.2605
0.81863
2.3427
0.58471
0.59957
0.60228
0.45917
1.1491
1.9926
0.45648
0.40404
0.54418
0.37699
0.52528
0.43518
0.46496
0.89605
0.48353
0.43758
3.1888
0.74002
0.74947
1.9646
0.88045
0.86828
8.0292
0.32138
1.4058
0.64966
0.42677
0.53073
0.47003
0.51327
0.37953
2.3693
0.77938
0.64296
0.91713
0.44565
1.0425
0.94549
0.82643
1.7773
0.67791
0.84812
0.7671
0.68061
0.91793
0.8854
0.68196
1.8703
1.9203
2.7502
1.1993
1.1765
1.9044
2.4781
1.193
2.1025
0.57392
0.59288
0.32827
0.50378
0.86963
1.2529
0.43498
1.3318
0.50649
0.40381
0.6619
1.1073
0.55097
0.68497
0.53478
0.60364
0.86963
1.0668
2.0855
1.2722
3.0267
10.0608
2.8629
3.1922
1.082
3.3039
2.5175
2.581
2.5886
1.4378
6.4804
0.93459
0.92946
2.8641
0.89936
3.2294
2.0215
1.8187
4.0642
3.0427
0.81171
0.63618
0.59147
1.1414
0.77798
1.0668
1.0844
1.1075
5.4665
7.6019
0.70903
2.1251
1.0239
0.67767
1.4858
3.2218
0.45646
1.1629
0.64281
1.0547
0.91017
2.2715
0.65357
0.45642
1.6191
0.58877
1.9014
0.45684
1.3735
1.6907
0.56312
0.59303
0.57121
0.63884
1.133
0.44567
0.51589
0.49288
4.0206
1.4574
1.1417
2.0165
3.8961
1.1417
1.0512
0.95635
0.81308
1.5816
2.0277
1.3744
1.0024
3.1364
1.1414
1.5898
3.1492
3.4884
3.3837
2.4791
2.7694
1.0209
1.1493
0.94391
4.5808
3.1623
5.3449
1.9561
3.0928
2.5363
1.8667
2.8537
3.0289
0.40676
0.9439
3.7907
2.2953
1.6261
2.6702
0.40647
0.40647
0.81335
0.9442
0.9439
0.94391
1.6643
0.94391
0.40646
3.0821
3.0224
2.7244
3.0821
1.2194
1.0506
1.4573
1.6255
1.4573
4.024
3.4745
3.9026
3.5562
4.2253
2.6768
2.5665
2.8409
2.2559
1.0506
0.64413
0.81293
0.64413
2.1986
4.7055
2.7667
1.406
1.3507
1.3507
1.4573
1.457
1.4573
4.0206
1.4574
1.1417
1.0512
1.1417
3.8961
2.0165
3.1492
1.5898
1.1414
3.1364
3.4884
5.688
5.4131
2.8159
2.8201
0.64413
1.1344
3.0339
2.1252
3.8183
1.0881
2.4555
3.9653
1.9552
1.2198
4.6776
2.4029
3.7419
2.341
4.6531
4.5596
4.5808
3.1623
5.3449
0.94391
1.0209
1.1493
3.0928
1.9658
2.5364
0.99958
1.0308
1.0105
0.93213
1.5098
0.95641
0.96712
0.91985
1.5328
1.4338
1.9868
1.4432
3.8634
4.119
3.5813
3.8347
1.1424
2.0882
4.8508
0.58044
1.2197
1.4067
0.81325
1.4577
1.4573
1.1414
1.3306
1.4285
5.4824
1.5221
1.8156
1.4753
0.94451
0.64413
0.81323
0.81293
0.64413
11.0485
1.695
1.4574
1.4579
0.81293
0.94422
0.94421
1.6628
1.6965
1.2886
1.2197
1.2197
1.4064
1.4284
1.7087
1.1574
1.4761
1.4279
1.1898
1.6553
5.9073
5.0997
1.406
6.4668
5.3439
2.4632
4.8064
7.3495
5.7794
4.6932
5.4378
5.7745
4.6103
3.3569
4.4782
0.94421
1.2813
1.1417
0.64445
1.3507
1.4574
1.6953
2.0856
2.0326
2.0677
2.6319
2.6322
2.6322
2.6713
2.6578
2.6646
0.4064
0.4064
0.4064
2.2709
2.1966
2.0551
1.8149
2.1687
2.1686
0.8133
0.64449
1.0512
2.934
0.88741
0.64481
1.142
1.352
0.81302
1.6629
2.0902
2.1066
Shifted by values of new cable [0,0,0.1,0]
UPDATE STEPS:
STD
Mean
Coefs
Origin
Database
Rank range
Examples
Hide
Block sheet
Block book

## Filled-Insulation (ALL)
Condition Assessment of Filled Insulations (i.e. EPR, Kerite & Vulkene)
Please fill the fields highlighted in yellow
| U/Uo | Mean TD [e-3] | STD [%] | STD [e-3]
0.5
1
1.5
Please activate tool (see Disclaimer sheet)
| Condition Assessment Parameters: |  | TD Stability @ V0 |  | Differential TD (TU) | Mean TD @ V0
Condition Assesment Results:
| TD Stability @ V0 | Differential TD (TU) | Mean TD @ V0 | Diff. in TU
Results indicates:
Historical figures of merit within CDFI for US cable systems over a period of 4 yrs.
Figures of Merit are based on more than 3000 separate field measurements at VLF.
A minimum of 6 measurements should be made at each voltage level to determine the values of the Mean TD [e-3] and STD [%] (parameters highlighted in yellow)
Acronyms:
- V: Test voltage
- V0: Nominal voltage
- TD: Tan delta
- STD: Standard deviation
- TU: Tip up
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
Please use this tab if it is not possible to definitively identify the Filled Insulation.
If you have identified the Filled Insulation as Mineral Filled (Pink) EPR, please use next tab.

## PCA-Filled (hidden)
Principal Component Analysis for Filled Cables - ALL
Data Stats:
| Std Dev | TU 1.5-.5 | Log TD | Diff in Tip Ups
STD | 55.8431 | 62.3136 | 1.2151 | 47.8053
Mean | 0.080063 | 0.25618 | 1.2035 | 0.15228
PCA Coeficients: | [7 empty] | Examples:
Component | Sample Value | Coef. PCA 1 | Coef. PCA 2 | Coef. PCA 3 | Sample PCA 1 | Sample PCA 2 | Sample PCA 3 | Std Dev | TU 1.5-.5 | Log TD | Diff in Tip Ups | Rank | Result
Std Dev^2 | #VALUE! | 0.222 | 0.63403 | 0.73364 | #VALUE! | #VALUE! | #VALUE! | 0.35 | 10 | 1.8 | 1 | 81.5884 | Futher Study | Cable at 80% in individual parameters - Database 1
TU 1.5-.5 |  | 0.7001 | -0.082502 | -0.041656 | #VALUE! | #VALUE! | #VALUE! | 1.5 | 180 | 2.1 | 100 | 95.6679 | Action Required | Cable at 95% in individual parameters - Database 1
Log TD^2 | #VALUE! | 0.32215 | 0.61008 | -0.66476 | #VALUE! | #VALUE! | #VALUE! | 0.2 | 10 | 1.8162 | 1 | 83.3935 | Futher Study | Cable at 80% in individual parameters - Database 2
Diff in Tip Ups |  | 0.59732 | -0.46798 | 0.13468 | #VALUE! | #VALUE! | #VALUE! | 2.8 | 215 | 2.1385 | 100 | 97.1119 | Action Required | Cable at 95% in individual parameters - Database 2
[5 empty] | #VALUE! | #VALUE! | #VALUE!
Origin:
Original
Translated | -0.080063 | -0.25435 | -0.60121
PCA Distance:
Sample | #VALUE! |  | Rank | #VALUE!
Database | 0.69149
0.83156
0.86306
0.86997
0.66622
0.70692
0.82094
0.84026
0.81112
0.83883
0.80665
0.84258
0.99552
1.0018
1.0018
0.88366
0.85272
0.72679
1.049
1.049
1.0557
0.92884
0.86818
0.95177
0.8944
0.94018
0.88984
0.71433
0.6982
0.72092
0.86274
1.0493
0.87521
0.93524
1.5817
1.4548
1.3403
0.92124
0.96895
1.9002
1.1862
5.2669
4.3432
18.229
1.8476
1.8476
1.2386
1.2549
1.5138
1.5074
1.4467
6.3261
2.4551
1.1803
4.9523
1.2604
4.0173
1.5104
1.3274
1.6807
1.2826
0.58899
0.58971
0.58792
1.4373
1.459
0.69291
1.3274
1.6124
2.7487
17.1492
2.7721
2.5493
5.7211
1.3867
1.0218
0.87774
1.0129
1.0378
1.0349
1.0305
1.2902
1.0245
1.4214
1.5264
1.4926
1.7094
1.7332
1.7247
1.927
1.9688
1.9461
1.023
1.0237
0.99431
0.9784
0.93607
0.96416
0.73586
0.97824
0.75134
0.99513
1.0914
0.81196
0.70834
0.98914
0.63141
0.70802
0.62899
0.5931
0.78887
0.80749
1.2931
0.95077
0.91504
0.95754
0.82595
0.90873
1.2383
4.7667
5.4922
0.89092
0.89992
0.84351
4.347
1.0997
0.69273
1.0356
0.90041
1.0415
1.0353
0.80627
0.9588
1.1124
0.91206
0.81112
0.90585
1.0418
1.0004
0.93502
0.89092
0.62659
0.72485
0.56541
0.80009
1.1464
0.94512
0.74385
0.60704
0.68002
0.61153
1.1541
1.0487
1.048
0.62659
0.8044
0.77675
0.81262
0.64355
0.7099
0.88069
0.9765
0.6279
0.87555
0.65194
0.59124
0.78305
0.81644
1.4099
0.97551
0.83661
0.93707
1.2518
0.698
0.75448
0.83364
0.8904
0.83465
3.7159
1.1003
2.0568
1.0497
0.90117
1.0415
1.071
0.98289
1.0087
1.1013
0.92203
0.83427
0.9223
1.016
0.94454
1.0908
0.83446
0.59823
0.8203
0.97287
0.6583
1.1462
0.96878
0.87167
0.66473
0.74908
0.72417
1.8476
0.9807
0.95378
0.59823
0.78769
0.71345
0.5938
1.28
0.80304
0.83215
0.62008
0.71022
0.64124
0.59722
0.77242
0.7846
1.3306
0.82875
0.96119
1.0836
0.63734
0.63608
0.8742
0.83465
0.91206
3.4876
1.1157
0.71513
1.0356
0.89548
1.0353
1.0225
0.98289
1.0018
1.1069
0.90536
0.83446
0.89016
1.0385
1.0176
1.1943
0.8742
0.64026
0.65314
0.84134
0.68104
1.1464
0.9819
0.8344
0.60168
0.67908
0.64002
1.8476
1.0278
1.0074
0.64026
0.78647
1.2222
0.61323
0.55641
1.2556
1.2927
1.2907
0.65414
0.50854
0.7229
0.84818
0.90016
UPDATE STEPS:
STD
Mean
Coefs
Origin
Database
Rank range
Examples
Hide
Block sheet
Block book
Shifted by third quartile over normalized data

## Mineral Filled (Pink) EPR
Condition Assessment of Mineral Filled (Pink) EPR
Please fill the fields highlighted in yellow
| U/Uo | Mean TD [e-3] | STD [%] | STD [e-3]
0.5
1
1.5
Please activate tool (see Disclaimer sheet)
| Condition Assessment Parameters: |  | TD Stability @ V0 |  | Differential TD (TU) | Mean TD @ V0
Condition Assesment Results:
| TD Stability @ V0 | Differential TD (TU) | Mean TD @ V0 | Diff. in TU
Results indicates:
Historical figures of merit within CDFI for US cable systems over a period of 4 yrs.
Figures of Merit are based on more than 3000 separate field measurements at VLF.
A minimum of 6 measurements should be made at each voltage level to determine the values of the Mean TD [e-3] and STD [%] (parameters highlighted in yellow)
Acronyms:
- V: Test voltage
- V0: Nominal voltage
- TD: Tan delta
- STD: Standard deviation
- TU: Tip up
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
We are currently gathering data on Filled insulation cables.
If you have performed Tan-delta tests in Mineral Filled (Pink) EPR, and would like to participate in the development of this tool, please send the results of your test to:
Caryn Riley: caryn.riley@neetrac.gatech.edu
Jean Carlos (JC) Hernandez-Mejia: jean.hernandez@neetrac.gatech.edu
Please use this tab if you have identified the Filled Insulation as Mineral Filled (Pink) EPR.
If it is not possible to definitively identify the Filled Insulation, please use previous tab.

## PILC
Condition Assessment of Paper Insulations (i.e. PILC)
Please fill the fields highlighted in yellow
| U/Uo | Mean TD [e-3] | STD [%] | STD [e-3]
0.5
1
1.5
Please activate tool (see Disclaimer sheet)
| Condition Assessment Parameters: |  | TD Stability @ V0 |  | Differential TD (TU) | Mean TD @ V0
Condition Assesment Results:
| TD Stability @ V0 | Differential TD (TU>0) | Differential TD (TU<0) | Mean TD @ V0 | Diff. in TU
Results indicates (for cable with NEGATIVE Tip up only):
Historical figures of merit within CDFI for US cable systems over a period of 4 yrs.
Figures of Merit are based on more than 3000 separate field measurements at VLF.
A minimum of 6 measurements should be made at each voltage level to determine the values of the Mean TD [e-3] and STD [%] (parameters highlighted in yellow)
Acronyms:
- V: Test voltage
- V0: Nominal voltage
- TD: Tan delta
- STD: Standard deviation
- TU: Tip up
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
We are still gathering data on PILC cables.
If you have performed Tan-delta tests in your PILC network, and would like to participate in the development of this tool, please send the results of your test to:
Caryn Riley: caryn.riley@neetrac.gatech.edu
Jean Carlos (JC) Hernandez-Mejia: jean.hernandez@neetrac.gatech.edu

## PCA-Paper (hidden)
Principal Component Analysis for Paper Cables
Data Stats:
| Std Dev | TU 1.5-.5 | Log TD | Diff in Tip Ups
STD
Mean
PCA Coeficients: | [7 empty] | Examples:
Component | Sample Value | Coef. PCA 1 | Coef. PCA 2 | Coef. PCA 3 | Sample PCA 1 | Sample PCA 2 | Sample PCA 3 | Std Dev | TU 1.5-.5 | Log TD | Diff in Tip Ups | Rank | Result
Std Dev |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | [6 empty] | New Cable
TU 1.5-.5 |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | [6 empty] | Cable at 80% in individual parameters
Log TD | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE! | [6 empty] | Cable at 95% in individual parameters
Diff in Tip Ups |  |  |  |  | #VALUE! | #VALUE! | #VALUE!
[5 empty] | #VALUE! | #VALUE! | #VALUE!
Origin:
Original
Translated
PCA Distance:
Sample | #VALUE! |  | Rank | #VALUE!
Database
Shifted by third quartile
over normalized data
UPDATE STEPS:
STD
Mean
Coefs
Origin
Database
Rank range
Examples
Hide
Block sheet
Block book

## Enable tool (hidden)
1 | Enable 1 (Expiration date)
0 | Enable 2 (Disclaimer)
0 | Enable Tool

## Action Required
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
Actions following an Action Required diagnosis might include
- Review data for a rogue measurement in the sequence
(Most common in the first acquisition)
- Check insulation type so that correct assessment table is used
- Re-clean terminations and repeat measurements
- Compare with previous tests or other results from other phases of this cable
- If Filled insulations are tested check specific variety of material; (If identified as Vulkene consult CDFI / NEETRAC for guidance)
- Conduct IEEE400.2 Standard (60 mins) VLF Withstand whilst monitoring Tan
(See Monitored Withstand Brochure for guidance)
- Retest in near future
- Place on “watch list” and consider remedial actions for the circuit

## Further Study
Copyright © 2023, Georgia Tech Research Corporation
Cable Diagnostic Focused Initiative (CDFI)
Interpretation of Tan-delta Measurements using Multivariate Methods
Actions following an Action Required diagnosis might include
- Review data for a rogue measurement in the sequence
(Most common in the first acquisition)
- Check insulation type so that correct assessment table is used
- Re-clean terminations and repeat measurements
- Compare with previous tests or other results from other phases of this cable
- If Filled insulations are tested check specific variety of material; (If identified as Kerite or Vulkene consult CDFI / NEETRAC for guidance)
- Conduct IEEE400.2 Standard (30 mins) VLF Withstand whilst monitoring Tan
(See Monitored Withstand Brochure for guidance)
- Place on “watch list”